CSC 131 – Computer Software Engineering

Fall 2026

Section 8

Software Engineering Project

Waste Collection Survey and Dashboard

Project Background

Sacramento State manages waste, recycling, and compost collection across many campus buildings and outdoor locations. Currently, staff have limited real-time information about bin fullness, contamination, collection activity, and service needs.

The Office of Sustainability is interested in technology that can improve waste-data collection, identify operational problems, reduce unnecessary pickups, prevent overflowing containers, and support campus zero-waste goals.

Project : Waste Collection Survey and Dashboard

Project Objective

Develop a mobile-friendly waste collection survey and dashboard using Smartsheet or a similar product. The system will allow drivers or collection staff to document each pickup and provide campus managers with information for improving collection schedules and service levels.

Primary Users

- Waste collection drivers

- Office of Sustainability staff

- Custodial and Facilities Management supervisors

Required Survey Fields

Each collection record should include:

- Driver or employee name

- Date and time

- Building or collection location

- Bin identification number

- Waste stream

- Container type or size

- Fullness level before collection

- Photographs of the container or its contents

- Contamination observed

- Service completed

- Overflow or material located outside the bin

- Damaged-bin or maintenance issue

- Additional comments

The fullness field should use consistent categories, such as 0%, 25%, 50%, 75%, and 100%.

Required Dashboard Features

The dashboard should:

- Display the total number of pickups completed.

- Show average fullness at the time of collection.

- Compare pickups by building, location, waste stream, and date.

- Identify bins that are regularly collected when less than half full.

- Identify overflowing or frequently full bins.

- Show contamination rates and common contamination types.

- Display submitted photographs with their collection records.

- Track missed, delayed, or incomplete services.

- Allow information to be filtered by date, driver, location, and waste stream.

- Present trends using clear graphs and summary indicators.

- Allow authorized users to export reports.

Workflow Requirements

The system should:

- Be easy to use from a phone or tablet.

- Require minimal typing from drivers.

- Prioritize dropdown menus, checkboxes, and automatic date and time fields when possible.

- Assign each bin a unique identification number.

- Consider the use of QR codes so staff can scan a bin and automatically open the correct record.

- Store all submissions in a central Smartsheet database.

- Limit editing and dashboard access based on the user’s role.

- Clearly notify the user that the submission was successful.

Desired Additional Features

If time permits, the system could:

- Send alerts when a bin is repeatedly overflowing.

- Recommend changes to container size or pickup frequency.

- Calculate potentially unnecessary pickups.

- Estimate potential cost, fuel, labor, and emissions savings.

- Display bin locations on a campus map.

- Send supervisors a daily or weekly summary.

- Create automatic work requests for damaged bins or missed service.

- Allow offline data entry when internet access is unavailable.